No. DMRC/Elect/GM/E/RC-1/DE-01 /Lot-1/Int.Corres/503(V-6)                Dated - 10.10. 2025

NOTE

Sub:  Compliances of observation raised by lift inspector-6

Ref.:	Sr.GM E/L&E office note no.DMRC/Elect./Ph-4/L&E/DE-07/GCEXEC/8248 dated 03.10.25

Vide above reference office of Sr.GM/E/L&E has asked to compliance to the observation raised by lift inspector. Only two point pertain to E&M department and compliance are as below

- Earth connection to RMS panel is pending in SCR: – E&M department has been completed all work related to RMS panel .if any additional work required please specified location.

- Pitampura station lift number 2A & 3A:-Earth strip and main cable entry to the lift shaft is sealed (above 200 mm cut out size to be sealed by civil team)

Submitted to DMRC Lift & Escalator team for compliance

AM/E&M/RC-1-2

Dy.CEE/E/RC-1-1

Sr. GM/E/RC-1

Sr.GM/E/L&E

No. DMRC/Elect/GM/E/RC-1/DE-01 /Lot-1/Int.Corres/503(V-6)               Dated - 10.10. 2025

NOTE

Sub: Issuances of lift license for 18 Nos. Lift of various station of line-8 extension (Majlish Park –Deepali chowk)

Ref.:	Lift inspector -6 office note no..DMRC/ED./E/UG-1/lift inspection dated 09.10.25

Vide above reference office of Lift inspector -6 office has asked to compliance to the observation raised during lift inspection on 07.10.25. Point wise compliances are as below

| Sr.no | Observation no. | Compliance |
| --- | --- | --- |
| 1 | 1 | Not pertain to E&M department |
| 2 | 2 | Not pertain to E&M department |
| 3 | 5 | Work completed |
| 4 | 7 | Work completed |
| 5 | 8 | Not pertain to E&M department |

Submitted to DMRC Lift & Escalator team for compliance

AM/E&M/RC-1-2

Dy.CEE/E/RC-1-1

Sr. GM/E/RC-1

Sr.GM/E/L&E